## Results
QUALITY MANAGEMENT SYSTEM FORM
RESULTS OF PT
determination of total count of aerobic meshopfilic bacteria (AM) in milk
Laboratory:
Date of receipt:
Date of analysis:
Total bacterial count
Uzorak broj | Dilution -1 | Dilution -2 | Dilution -3 | Dilution -4 | Total count (log cfu/mL) | Average ± Up* (log cfu/mL)
1.
2.
3.
* Expanded measurement uncertainty with coverage probability 95% (k=2) expressed in the same unit as the result (optional entry)
PLEASE EXPRESS RESULTS ACCORDING TO ISO 7218
Method: ISO 4833-1 (Horizontal method for the enumeration of microorganisms - Part 1: Colony count at 30 degrees C by the pour plate technique)
Are the samples in good condition on receipt. If no, explain:
Date: |  |  |  | Responsible collaborator:
(signature)
(First and last name, function)
NOTE: The user is required to check the results and information before entering in the form. Your results are provided electronically and the "Reference laboratory for Milk and Dairy Products" is not responsible for any errors. Please complete the form send and it by e-mail: rlm@agr.hr
OB 7.3.5-10.PT/1 |  |  | 1/1 |  |  | Archiving (years): | 5
HRVATSKA ▪ CROATIA
Svetošimunska cesta 25, 10000 Zagreb, Hrvatska, Tel.: +385 1 23 93 942
E-mail: rlm@agr.hr
P. dish 1 P. dish 2
P. dish 1 P. dish 2
P. dish 1 P. dish 2
P. dish 1 P. dish 2

## Sample handling
HANDLING OF SAMPLES:
The samples are preserved with azidol, so it is necessary to follow the appropriate instructions on occupational safety!
Sample storage: samples are stored in a freezer at -18°C to -35°C
Sample preparation and analysis: Dissolve the samples in a bath (at 20-30°C) with occasional stirring, until the milk is completely dissolved.
Analyze by using the method specified in this form (ISO 4833-1)
Sample incubation time: 72 hours at 30 °C
Nutrient medium: Plate Count Agar with Skim Milk
Send the completed form with the results by email to rlm@agr.hr